## Slide 1
VLVNT 2013
David Calvo y Diego Real
IFIC (CSIC – Universidad de Valencia)
Time to Digital Converters for KM3NeT Data Readout System

## Slide 2
100m
~ 860m
640 strings
20 DOM/string
12800 DOMs
Volume: ~5 km3
12,800 DOMs in the deep sea at 3-5 km depth
with point-to-point connection to shore
KM3NeT: ARTIST IMPRESSION

## Slide 3
Upper Hemisphere
12 PMTs
Lower Hemisphere
19 PMTs
Central Logic Board
(CLB)
PMT Base:
High Voltage Supply
Analog Front-End
KM3NeT DIGITAL OPTICAL MODULE (DOM)

## Slide 4
Readout 31 PMT’s with 1 ns resolution
“Knowledge” of absolute time (1 ns resolution)
Data pushed from PMTs to Shore Station
I2C: Compass, Tilt
Other IO: Temp, Nano beacon, Acoustics
Firmware must be reconfigurable
Low Power
Low Cost
Part of a scalable system (with respect to the complete detector)
Highly reliable
KM3NeT CENTRAL LOGIC BOARD (CLB)

## Slide 5
Rx_mac2buf
I2C
Fifo
31 TDCs
TDC0
Management
& Control
Data
Control
Wishbone bus
RxPacket
Buffer
64KB
IP/UDP Packet Buffer
Stream Selector (IPMUX)
Rx_buf2data
RxPort 1
RxPort 2
RxPort_m
Management
& Config.
Tx_pkt2mac
Tx_data2buf
TxPort 1
TxPort 2
TxPort_m
Flags
Rx Stream Select
TxPacket
Buffer
32KB
Flags
Tx Stream Select
31 PMTs
UTC time & Clock (PPS, 125 MHz)
Pause Frame
ADC
Management
& Control
Hydrophone
Fifo
TDC
30
Fifo
Nano
Beacon
GPIO
Debug LEDs
I2C
Debug RS232
Temp
Compass
Tilt
Point to Point interconnection
Xilinx
Kintex-7
Start Time Slice UTC &
Offset counter since
Time Slice Start
MEM
S
2nd CPU
LM32
M
M
WB Crossbar
(1x8)
WB Crossbar
(3x2)
S
M
S
M
M
S
S
M
M
M
S
S
S
UART
S
M
M
S
M
M
State Machine
SPI
S
M
SPI
Flash
Multiboot
Management
& Control
M
S
S
KM3NeT CENTRAL LOGIC BOARD (CLB)

## Slide 6
Rx_mac2buf
I2C
Fifo
31 TDCs
TDC0
Management
& Control
Data
Control
Wishbone bus
RxPacket
Buffer
64KB
IP/UDP Packet Buffer
Stream Selector (IPMUX)
Rx_buf2data
RxPort 1
RxPort 2
RxPort_m
Management
& Config.
Tx_pkt2mac
Tx_data2buf
TxPort 1
TxPort 2
TxPort_m
Flags
Rx Stream Select
TxPacket
Buffer
32KB
Flags
Tx Stream Select
31 PMTs
UTC time & Clock (PPS, 125 MHz)
Pause Frame
ADC
Management
& Control
Hydrophone
Fifo
TDC
30
Fifo
Nano
Beacon
GPIO
Debug LEDs
I2C
Debug RS232
Temp
Compass
Tilt
Point to Point interconnection
Xilinx
Kintex-7
Start Time Slice UTC &
Offset counter since
Time Slice Start
MEM
S
2nd CPU
LM32
M
M
WB Crossbar
(1x8)
WB Crossbar
(3x2)
S
M
S
M
M
S
S
M
M
M
S
S
S
UART
S
M
M
S
M
M
State Machine
SPI
S
M
SPI
Flash
Multiboot
Management
& Control
M
S
S
KM3NeT CENTRAL LOGIC BOARD (CLB)

## Slide 7
7
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
LVDS
Photons
3 inch PMTs
PMT SIGNAL ADAPTATION
<105
PMT
PMT BASE
OCTOPUS
BOARD
CLB
OCTOPUS
KINTEX-7
TDC

## Slide 8
Precise measurements of time intervals (TI) are frequently needed in many
applications in science and industry.
It has been widely used in many applications such as particle detection and time of fly in high energy physics, laser range finder, frequency counter, etc.
It used to be designed in ASIC but due to the complex design process and high cost, from 1995 are being designed in FPGA.
In a simple case shown in figure , the TI is measured between the leading edges of two electrical pulses or between rising edge and falling edge of electrical pulses received from the detectors of some physical events
The TDC performs conversion of a time interval TI into a digital (binary) word, frequently displayed in the decimal form. Therefore a TI measurement is also called a time-to-digital converter (TDC).
TIME TO DIGITAL CONVERTER (TDC): INTRODUCTION
Start counter
Stop counter

## Slide 9
TDC: REQUIREMENTS
Input signal
Design and implementation of high resolution, Low power and wide dynamic range time to digital converter (TDC) in Field Programmable Gate Array (FPGA)
Implement TDC for achieving 1 ns time resolution required for the experiment.

## Slide 10
Analogue methods (Better accuracy) :
  Ramp interpolator (Analogue to Digital Converter)
    Start and stop signals enable and disable the charge of capacitor
    Charge of capacitor proportional to time interval
Digital Methods (More flexibility in integrated circuits):
  Vernier:
    Two slightly detuned oscillators
    Start their signals with start and stop event
    When leading edges coincides measure ends
  Tapped delay line:
    Cells (D-flip-flop) with well
    defined delay
    Start signal is delayed
    Stop signal latches all flip-flops
TDC: DIFFERENT ARCHITECTURES

## Slide 11
TDC: XILINX KINTEX-7 CAPABILITIES
Input/Output Blocks
Serializer / Deserializer primitve
within IO blocks (ISERDES)
Low resources. Logic no needed
No external devices
Low power consumption
Accuracy enough for 1 ns.

## Slide 12
TDC: OVERSAMPLING TECHNIC
Notes: 12

## Slide 13
TDC: TECHNICAL INFORMATION
31 Channels
Input signals:
  Data (LVDS)
  Two 250 MHz clocks
48 bits output:
  8 bits header
  32 bits time stamp
  8 bits pulse width
Resolution: 1 ns
Death time: 4 ns
Notes: 13

## Slide 14
LVDS
Input
Signal
Output
(48 bits)
KC705
MULTIPLEXER
Ch.1
Ch.2
Ch.31
SIGNAL DISTRIBUTION
Enable Interface
Ch.1
Ch.31
PC
KM3NeT: 31 TDC CHANNELS
Notes: 14

## Slide 15
TDC CORE CONTROL
Embedded
Open source – portable
Wihsbone bus compatible:
  Open source
  Logic bus
  Crossbar connection with slaves
TDC Wishbone slave properties:
  Enable/Disable the whole core
  Enable/Disable each channel
Notes: 15

## Slide 16
TDC: EXAMPLE TEST
ML605
LVDS
Input
Signal
Output
(48 bits)
KC705
Well-known pattern
MULTIPLEXER
Ch.1
Ch.2
Ch.31
SIGNAL DISTRIBUTION
Enable Interface
Ch.1
Ch.31
PC
Notes: 16

## Slide 17
TDC: PATTERNS TO TEST
Jitter = 0.3 ns
CHANNEL 1
CHANNEL 2
Notes: 17

## Slide 18
TDC: PATTERN TO TEST
Patterns replicated 250 times
1000 pulses x channel
CHANNEL 1
CHANNEL 2
Notes: 18

## Slide 19
TDC: RESULTS
Pulse width
ns
counts
CHANNEL 1
ns
counts
CHANNEL 2
Notes: 19

## Slide 20
TDC: RESULTS
Time between pulses
ns
counts
CHANNEL 1
ns
counts
CHANNEL 2
Notes: 20

## Slide 21
CONCLUSIONS
Taking advantage of Xilinx technology to implement a high resolution Time
to Digital Converters.
4XOversampling method with two 250 MHz clocks
TDC architecture implemented with low resources occupancy and 1 ns of
resolution
31 TDC channels integrated into LM32 microprocessor as wishbone salve:
  Enable interface controlled by LM32
Successful tests
Notes: 21

## Slide 22
THANKS FOR YOUR ATTENTION!
Notes: 22