## Slide 1
Stockholm, 5 August 2013
Diego Real, IFIC Spain, KM3NeT Electronics Coordinator
The electronics readout and data acquisition system of the KM3NeT Neutrino Telescope
VLVnT13 - Very Large Volume Neutrino Telescope Workshop 2013

## Slide 2
2
~60 m
100 m
14.5 m
Link cables
Junction box
2
KM3NeT Collaboration
VLVnT13 Stockholm , 05-08-2013
IFIC, Valencia
UPV, Valencia
UPC, Barcelona
40 Institutes

## Slide 3
12,800 DOMs in the deep sea at 3-5 km depth
with point-to-point connection to shore
3
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
3
KM3NeT Neutrino Telescope
VLVnT13 Stockholm , 05-08-2013
100m
~ 860m
640 strings
18 DOM/string
11520 DOMs
Volume: ~5 km3

## Slide 4
4
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
4
Deployment Of KM3NeT Detection Units
VLVnT13 Stockholm , 05-08-2013
640 string with optical sensors
in the deep sea at 3-5 km depth

## Slide 5
5
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
5
KM3NeT Digital Optical Module
VLVnT13 Stockholm , 05-08-2013
31 x 3” PMT
19 Lower Hemisphere
12 Upper Hemisphere
Contains Read Out and
Control/Command Electronics for
PMT and instrumentation

## Slide 6
Power board
Central Logic Board
31 PMTs
Octopus boards
PMT Bases
6
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
6
Electronics Boards In The KM3NeT-DOM
VLVnT13 Stockholm , 05-08-2013
Cooling System

## Slide 7
7
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
7
KM3NeT PMT Bases
VLVnT13 Stockholm , 05-08-2013
<105
dimensions in mm

## Slide 8
8
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
8
PMT Bases Features
VLVnT13 Stockholm , 05-08-2013
Adjustable HV (800-1400V)
Low power (4,5mW)
ASIC with pre-amplifier and discriminator
Connection to the signal collection boards done by flexible PCB
LVDS output signal

## Slide 9
9
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
9
PMT Bases Schematics
VLVnT13 Stockholm , 05-08-2013
Discrete
Components
I2C
Decoder
+ ID Control
3V3
supply
PMT-base
ID (OTP)
LVDS
Photons
Cockroft
Walton
HV
Comparator
Threshold DAC
Pre- amp
Current
controlled
Oscillator
HV DAC
Feedback
I2C
Opamp
Analog
Buffer
Clock
6.5us
Pulse
generator
Driver
Switch
+
Sense
Circuit
Current
Sense
PROMiS_v2
CoCo_v2
3 inch PMTs
ETEL bases with the chips

## Slide 10
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
10
COCO And PROMIS Chips
VLVnT13 Stockholm , 05-08-2013

## Slide 11
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
11
Octopus Board
VLVnT13 Stockholm , 05-08-2013
Collect PMT bases signals and conduce them to the Central Logic Board
Delivers power for individual PMT HV base
Provide I2C communication with the Central Logic Board

## Slide 12
12
Power Board
VLVnT13 Stockholm , 05-08-2013
Convert 12V from the external break Out Box to voltages for the DOM
Isolated from the CLB in order to avoid ElectroMagnetic Interferences

## Slide 13
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
13
Specs For The KM3NeT Central Logic Board
VLVnT13 Stockholm , 05-08-2013
Readout 31 TDC’s with 1 ns resolution (See David’s talk)
“Knowledge” of absolute time (1 ns resolution) – White Rabbit
Data pushed from PMTs to Shore Station
I2C: PMT-HV, Threshold, Compass, Tilt
Other IO: Temp, Nanobeacon, Acoustics, Piezo
Firmware must be reconfigurable
Low Power
Low Cost
Part of a scalable system (with respect to the complete detector)
Highly reliable
Specifications

## Slide 14
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
14
Time Synchronization And Data Transfer
VLVnT13 Stockholm , 05-08-2013
Main features of a White Rabbit network:
    Transparent, high-accuracy synchronization
    Low-latency, deterministic data delivery
    Designed for high reliability
Control and timing
International collaboration
Based on well-known technologies
Open Hardware and Open Software
Ethernet
Determinism & Reliability
Synchronization
+
+
WHITE RABBIT

## Slide 15
15
Soft Microprocessor
VLVnT13 Stockholm , 05-08-2013
LM32 @ 62.5 Mhz
No operating system
Best at:
deterministic execution
configurable memory bus
small and fast
1.- Open source – portable
2- Well documented
3.- White Rabbit uses it
4.- Wihsbone compatible
Embedded
Lower power consumption

## Slide 16
16
Bus System
VLVnT13 Stockholm , 05-08-2013
WHISHBONE
  Wishbone is intended as a "logic bus“
  It does not specify electrical information or the bus topology
  Instead, the specification is written in terms of "signals", clock cycles, and high and low levels
  Open source
    The Wishbone Bus is used by many designs in the OpenCores project
  Possible interconnections:
    Point to Point
    Shared bus
    Pipelined
    Crossbar switch -> The one selected (Used also in WRPC)

## Slide 17
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
17
Block Diagram Of FPGA Functionalities
VLVnT13 Stockholm , 05-08-2013
Rx_mac2buf
I2C
Fifo
31 TDCs
TDC0
Management
& Control
Data
Control
Wishbone bus
RxPacket
Buffer
64KB
IP/UDP Packet Buffer
Stream Selector (IPMUX)
Rx_buf2data
RxPort 1
RxPort 2
RxPort_m
Management
& Config.
Tx_pkt2mac
Tx_data2buf
TxPort 1
TxPort 2
TxPort_m
Flags
Rx Stream Select
TxPacket
Buffer
32KB
Flags
Tx Stream Select
31 PMTs
UTC time & Clock (PPS, 125 MHz)
Pause Frame
ADC
Management
& Control
Hydrophone
Fifo
TDC
30
Fifo
Nano
Beacon
GPIO
Debug LEDs
I2C
Debug RS232
Temp
Compass
Tilt
Point to Point interconnection
Xilinx Kintex-7 FPGA
Start Time Slice UTC &
Offset counter since
Time Slice Start
MEM
S
2nd CPU
LM32
M
M
WB Crossbar
(1x8)
WB Crossbar
(3x2)
S
M
S
M
M
S
S
M
M
M
S
S
S
UART
S
M
M
S
M
M
State Machine
SPI
S
M
SPI
Flash
Multiboot
Management
& Control
M
S
S

## Slide 18
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
18
PMT Signal Path
VLVnT13 Stockholm , 05-08-2013
Rx_mac2buf
I2C
Fifo
31 TDCs
TDC0
Management
& Control
Data
Control
Wishbone bus
RxPacket
Buffer
64KB
IP/UDP Packet Buffer
Stream Selector (IPMUX)
Rx_buf2data
RxPort 1
RxPort 2
RxPort_m
Management
& Config.
Tx_pkt2mac
Tx_data2buf
TxPort 1
TxPort 2
TxPort_m
Flags
Rx Stream Select
TxPacket
Buffer
32KB
Flags
Tx Stream Select
31 PMTs
UTC time & Clock (PPS, 125 MHz)
Pause Frame
ADC
Management
& Control
Hydrophone
Fifo
TDC
30
Fifo
Nano
Beacon
GPIO
Debug LEDs
I2C
Debug RS232
Temp
Compass
Tilt
Point to Point interconnection
Xilinx
Kintex-7
Start Time Slice UTC &
Offset counter since
Time Slice Start
MEM
S
2nd CPU
LM32
M
M
WB Crossbar
(1x8)
WB Crossbar
(3x2)
S
M
S
M
M
S
S
M
M
M
S
S
S
UART
S
M
M
S
M
M
State Machine
SPI
S
M
SPI
Flash
Multiboot
Management
& Control
M
S
S

## Slide 19
~60 m
100 m
14.5 m
Link cables
2500 m depth
Junction box
19
Instrumentation Data Path
VLVnT13 Stockholm , 05-08-2013
Rx_mac2buf
I2C
Fifo
31 TDCs
TDC0
Management
& Control
Data
Control
Wishbone bus
RxPacket
Buffer
64KB
IP/UDP Packet Buffer
Stream Selector (IPMUX)
Rx_buf2data
RxPort 1
RxPort 2
RxPort_m
Management
& Config.
Tx_pkt2mac
Tx_data2buf
TxPort 1
TxPort 2
TxPort_m
Flags
Rx Stream Select
TxPacket
Buffer
32KB
Flags
Tx Stream Select
31 PMTs
UTC time & Clock (PPS, 125 MHz)
Pause Frame
ADC
Management
& Control
Hydrophone
Fifo
TDC
30
Fifo
Nano
Beacon
GPIO
Debug LEDs
I2C
Debug RS232
Temp
Compass
Tilt
Point to Point interconnection
Xilinx
Kintex-7
Start Time Slice UTC &
Offset counter since
Time Slice Start
MEM
S
2nd CPU
LM32
M
M
WB Crossbar
(1x8)
WB Crossbar
(3x2)
S
M
S
M
M
S
S
M
M
M
S
S
S
UART
S
M
M
S
M
M
State Machine
SPI
S
M
SPI
Flash
Multiboot
Management
& Control
M
S
S

## Slide 20
~60 m
100 m
14.5 m
Link cables
Junction box
20
Instrumentation
VLVnT13 Stockholm , 05-08-2013
AES3 (Audio Engineering Society) protocol
I²C (Inter Integrate Circuit) bus
Nanobeacon
Compass sensor + Tilt-meter sensor
Temperature sensors (located on the CLB)
HV base 3” PMT configuration (across the Octopus boards)
Hydrophone
Piezo

## Slide 21
21
Booting The KM3NeT-DOM
VLVnT13 Stockholm , 05-08-2013
Multiboot
FPGA SPI flash memory

## Slide 22
22
KM3NeT On Shore Station
VLVnT13 Stockholm , 05-08-2013
WR Switch
Server1
192.16.x.1
Time Slice
IP
192.16.x.1
1
192.16.x.2
2
:
:
192.16.y.z
n
Each DOM synchronizes to the absolute time (using White Rabbit)
Each DOM receives a look up table with IP addresses while configuring the detector.
  Fixed Ip stored on the nodes can be also used
All DOMs start at an absolute point in time which was communicated via a command over the White Rabbit network
All DOMs start their first time-slice at exactly the same time
All data is IP/UDP formatted and passed to the IP number corresponding to the time slice
After ‘n’ time slices, first PC is again selected to process the data
GPS
PPS
10MHz
Shore
Sub Sea
Switch
Buffers
DOM
1
DOM
2
DOM
16
WR Switch
DOM
12798
DOM
12799
DOM
12800
Time Slice
IP
IP Address
Time Slice
Server2
192.16.x.2
Server n
192.16.y.z
Server
Server
Server
Server
Servers may be
used for storage and
Pre-processing

## Slide 23
23
On Shore Station Data Path
VLVnT13 Stockholm , 05-08-2013
DOM
DOM
DOM
DOM
Buffer
Buffer
Buffer
Buffer
SFP
SFP
SFP
SFP
Broadcast
Optical
Network
Start
Tx
t4 Stop1
ReferenceClock
PTP
Time Stamp t1
Time Stamp t4
t4 Stop2
Time Stamp t4
t4 Stop3
Time Stamp t4
t4 Stop4
Time Stamp t4
Shore Station interface
Rx
j: DDMTD
Rx
j: DDMTD
Rx
j: DDMTD
Rx
j: DDMTD
SFP
Main Electrical Optical Cable
(MEOC)
40 km long in KM3NeT-Fr/Gr
100 km long in KM3NeT-It

## Slide 24
24
Conclusions
VLVnT13 Stockholm , 05-08-2013
Readout/DAQ of KM3Net – DOM using:
White Rabbit protocol:
Ethernet + Synchronization (1 ns) + Determinism
31 TDC’s with 1 ns resolution
31 low power HV PMT bases with preamplifier and discriminator
Data read out parallelized on Field Program Gate Array
Control/Configuration performed in an embedded processor
No Operating System used
Embedded instrumentation for calibration
Optical 1Gb/s Ethernet link
KM3NeT Onshore station centralises the read out – control – configuration of the telescope

## Slide 25
25
VLVnT13 Stockholm , 05-08-2013
THANKS FOR YOUR ATTENTION!