## Slide 1: Electromagnetic pickup and kicker structures for particle beam diagnostics and stochastic cooling F. Caspers (CERN-BE-RF) with many BI related slides from R. Jones
A few words about CERN
An overview of classical non-intercepting electromagnetic sensors used for charged particle accelerators
Examples of Schottky mass spectroscopy of single circulating ions
Stochastic beam cooling, a feedback process based on Schottky signals in the microwave range
Conclusion

## Slide 2
WHEN ENERGY BECOMES MATTER

## Slide 3: CERN
founded 1954, today > 20 member states;
Up to 10’000 persons working at CERN, including 2250 CERN-personnel;
Annual budget approximately 1000 MCHF (900 M€);
Most accelerators are passing through the Swiss-French border

## Slide 4: The LHC at CERN – a huge scientific experiment
The LHC is a particle accelerator with many superlatives:
26,7 km circumference;
4 large and several smaller experiments;
Proton-proton collisions with an energy of 7 TeV (planned) per beam and a maximum luminosity1 of 1034cm-2s-1 for protons;
1232 super conducting dipolmagnets with 2 beam-pipes, each at up to 8.3 Tesla magnetic field, cryogenically cooled to 1.8 K;
For this 96000 Kg of Helium are required…
SPS
Switzerland
France
LHC
GVA (GVA airport)
1Luminosity is a measure for the “number of collisions”

## Slide 5
Atom
Proton
(Big Bang)
earth-radius
radius of a galaxy
distance earth/sun
Universum
cm
Aim of the LHC: the study of the physical laws as they were shortly after the big bang &
Experimental evidence for Higgs-Boson
LHC accelerator
The Higgs-Boson (namend after Peter Higgs ) is considered to “communicate” the mass of elementary particles – it is part of the physical Standardmodel.
Notes: 5
60 Grössenordnungen

## Slide 6
The CERN accelerator complex

## Slide 7: Measuring Beam Position – The Principle
-
-
-
-
-
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
-
+
+
-
+
-
-
-
-
-
-
-
+
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
-
+
+
-
+
-
-
-
-
-
-
-
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
-
+
+
-

## Slide 8: Wall Current Monitor – The Principle
-
-
-
-
-
+
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
-
+
+
-
+
-
-
+
-
-
-
-
-
-
-
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
-
+
+
-
V
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
Ceramic Insert
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+

## Slide 9: Wall Current Monitor – Beam Response
L
IB
V
R
C
Frequency
Response
0
0
IB
C=gap capacity due to ceramic insert and fringe fields
R=external resistor, L =external inductance

## Slide 10: Wall Current Monitor (WCM) principle
The BEAM current is accompanied by its IMAGE
A voltage proportional to the beam current develops on the RESISTORS in the beam pipe gap
The gap must be closed by a box to avoid floating sections of the beam pipe
The box is filled with the FERRITE to force the image current to go over the resistors
The ferrite works up to a given frequency and lower frequency components flow over the box wall

## Slide 11: WCM as a Beam Position Monitor
For a centered BEAM the IMAGE current is evenly distributed on the circumference
The image current distribution on the circumference changes with the beam position
Intensity signal () = resistor voltages summed
Position dependent signal () = voltages from opposite resistors subtracted
The  signal is also proportional to the intensity, so the position is calculated according to /
Low cut-offs depend on the gap resistance and box wall (for ) and the pipe wall (for ) inductances

## Slide 12: Inductive Pick-Up New Design
The ceramic tube is coated with low resistance titanium layer, resistance: end-to-end 10 , i.e.  15 /
Primary circuit has to have small parasitic resistances (Cu pieces, CuBe screws, gold plating)
Tight design, potential cavities damped with the ferrite
The transformers are mounted on a PCB and connected by pieces of microstrip lines (minimizing series inductances)

## Slide 13: IPU and AHC – Frequency Characteristics
A wire method with a 50  coaxial setup which the IPU is a part
 signal – flat to 0.5 dB within 5 decades, almost 6 decades of 3 dB bandwidth (no compensation)
 signal – 5 decades (four decades + one with an extra gain for low frequencies)
BW: 1 kHz – 150 MHz (> 5 decades)
BW: 300 Hz – 250 MHz ( 6 decades)

## Slide 14: Electrostatic Monitor – The Principle
-
-
-
-
-
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
-
+
+
-
+
-
-
-
-
-
-
-
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
+
-
-
-
-
-
-
-
+
+
+
+
-
+
+
+
-
-
+
-
+
+
-
-
+
-
-
+
+
-
+
-
V
-
-
-
-
-
-
-

## Slide 15: Electrostatic Monitor – Beam Response
VB
V
R
C
Frequency (Hz)
Response (V)
0
0

## Slide 16: Electrostatic Pick-up – Shoebox
Linear cut through a shoebox
UL
UR
x
Highly Linear
Beam
w
Measurement:
  Induced charges carried away by low-impedance circuit or sensed on a high impedance as a voltage

## Slide 17: Electrostatic Pick-up – Button
Variant of electrostatic PU
Low cost  most popular
Non-linear
  requires correction algorithm
  when beam is off-centre
Transfer Impedance:
  Low frequency cut-off:
Area A
r
Frequency (Hz)
Response (V)
0
0
Ce = capacity of the pickup electrode to ground

## Slide 18: Button Frequency & Time Response
Frequency domain:
  Impedance transformers improve the low frequency levels at the expense of the high frequency
Time domain:
  Differentiated pulse
  Exponential dependence of amplitude on bunch length
N = turns ratio of an
external transformer
Ce = capacity of the pickup electrode to ground
Zt=transfer impedance, Q=number of protons per bunch
W= width of the bunch in nanoseconds

## Slide 19: Electromagnetic (Directional) coupler
A transmission line (stripline) which couples to the transverse electromagnetic (TEM) beam field
  Zt = 60 ln[(r+h)/r]
   Z0*[a/2p(r+h)]
    Z0 is the characteristic
    impedance
    a, r, h, l are the
    mechanical dimensions
    t = l/c is the propagation
    time in the coupler
r
a
h

## Slide 20: EM Fields & Relativity
+
+
+
Static Point
Charge
Moving Point
Charge
Relativistic Point
Charge
TEM Wave
Relativistic case: Electric & magnetic fields become transverse to the direction of motion (TEM).
1/(bg)
E-Field

## Slide 21: Electromagnetic Stripline Coupler - Principle
Rd
Vd
+
+
+
+
+
Ru
Vu

## Slide 22: Improving the Precision for Next Generation Accelerators
Standard BPMs give intensity signals which need to be subtracted to obtain a difference which is then proportional to position
  Difficult to do electronically without some of the intensity information leaking through
    When looking for small differences this leakage can dominate the measurement
    Typically 40-80dB (100 to 10000 in V) rejection  tens micron resolution for typical apertures
Solution – cavity BPMs allowing sub micron resolution
  Design the detector to collect only the difference signal
    Dipole Mode TM11 proportional to position & shifted in frequency with respect to monopole mode
f / GHz
U / V
Frequency Domain
TM01
TM11
TM02
U~Q
U~Qr
U~Q
Courtesy of D. Lipka,
DESY, Hamburg
TM01
TM11
TM02

## Slide 23: Cavity BPMs
26-03-2007
23
BPM resolution typically limited by problem of taking a difference between large numbers (2 opposing electrodes)
Cavity BPMs have different frequency response for fundamental and difference mode
  Aids in fundamental rejection
  Can give sub-micron resolution.
  BUT:
  Damping time quite high due to intrinsic high Q >>1000
  Poor time resolution (~100ns)
L. Søby

## Slide 24: Today’s State of the Art BPMs
Obtain signal using waveguides that only couple to dipole mode
  Further suppression of monopole mode
Prototype BPM for ILC Final Focus
  Required resolution of 2nm (yes nano!) in a 6×12mm diameter beam pipe
  Achieved World Record (so far!) resolution of 8.7nm at ATF2 (KEK, Japan)
Monopole Mode
Dipole Mode
Courtesy of D. Lipka,
DESY, Hamburg
Courtesy of D. Lipka & Y. Honda

## Slide 25
Schottky Measurements
LHC OP days – 7th of December 2010 – Evian
4.8 GHz Slotted Waveguide Structure
60 x 60 mm aperture x 1.5 meters long
Gated, triple down-mixing scheme to baseband
Successive filtering from bandwidth of 100MHz to 11kHz
Capable of Bunch by Bunch Measurement
100 MHz
24 MHz
11 kHz
11 x 400MHz
Gate
Hybrid
21.4MHz
500 MHz
22 MHz
379MHz
BBQ
Acquisition
Electronics
Forward coupler !
in a certain frequency band
the phase velocity of the
slotted waveguides match
the velocity of the beam
which is very close to c
400MHz
21 MHz
0-22 kHz
4.8GHz

## Slide 26
Schottky Measurements
LHC OP days – 7th of December 2010 – Evian
Comparison of Ions and Protons Bunch to Bunch Spectra
Single Bunch Spectrum B1 H and B1V : Prontons vs Ions
Single Bunch Spectrum B2 H and V : Prontons vs Ions
Revolution frequency in LHC
Schottky bands

## Slide 27: What type of beam structure do we have?
All rf buckets filled

## Slide 28: All RF Buckets Filled (200MHz)

## Slide 29: Few RF Buckets Filled (40MHz)

## Slide 30: Single Bunch Response

## Slide 31: Examples of Schottky mass spectroscopy this and the following 4 slides (S.Litvinov) were provided by P. Kowina (GSI)

## Slide 32: Examples of Schottky mass spectroscopy (2) production storage and cooling of short lived nuclei ( slide by S. Litvinov)

## Slide 33: Examples of Schottky mass spectroscopy (3) production storage and cooling of short lived nuclei ( slide by S. Litvinov)

## Slide 34: Examples of Schottky mass spectroscopy (4) production storage and cooling of short lived nuclei ( slide by S. Litvinov)

## Slide 35: Examples of Schottky mass spectroscopy (5) production, storage and cooling of short lived nuclei ( slide by S. Litvinov)

## Slide 36: Stochastic beam cooling invented by Simon van der Meer at CERN in 1967, Nobel prize in 1984
The Nobel price was awarded to Carlo Rubbia
and Simon van der Meer for “their decisive
contributions to the large project, which led to the discovery of the field particles W and Z, communicators of the weak interaction".(quote)
and also from the Laudatio:
van der Meer made it possible, Rubbia made it happen.

## Slide 37: Stochastic beam cooling - why and how the text shown below is part of the Nobel lecture by S. v.d. Meer

## Slide 38: Stochastic beam cooling - hor. cooling the text shown below is part of the Nobel lecture by S. v.d. Meer

## Slide 39: Stochastic beam cooling history – the early days
But not really published

## Slide 40: Stochastic beam cooling – theoretical considerations in the beginning
In this period the term damping was still used

## Slide 41: Stochastic beam cooling – the hot 70ths
van der Meer

## Slide 42: Stochastic beam cooling evolution – mid term history

## Slide 43: Stochastic beam cooling history – recent achievements

## Slide 44: Stochastic beam cooling – some basic theory
blue traces and dots = particle trajectory and position in phase space before kicker action
red traces and dots = particle trajectory and position after kicker action

## Slide 45: Stochastic beam cooling – basic notations

## Slide 46: Stochastic beam cooling – what can we observe?

## Slide 47: Stochastic beam cooling - summary
Today stochastic cooling is an important tool for charged particle beam conditioning, its used in all 3 planes (horizontal, vertical and longitudinal
Stochastic cooling is applied on coasting (non-bunched ) and bunched HADRON beams, where for bunched beam stochastic cooling large difficulties related to inter-modulation of the front end amplifier had to be mastered
Stochastic cooling systems are in operation at CERN, GSI, FZJ, BNL and Fermilab and further systems are planned for NICA and in the frame of the FAIR project
Stochastic cooling is very suitable to make HOT beam tempered, and electron cooling is very well suited to make tempered beam really cold..approaching the state of beam crystallization…
There exist a considerable number of other particle cooling methods, such as ionization cooling ( proposed for muons with very short lifetime), laser cooling, radiation cooling (leptons) resistive cooling (applied in traps) ..just to give a few examples
Stochastic cooling has permitted to increase the “6 D phase space density” of antiprotons by more than 10 orders of magnitude…(these days)

## Slide 48: Conclusion
For beam diagnostics in particle accelerators electromagnetic sensors operating from DC to well beyond the microwave range are and indispensible tool and modern accelerators cannot run without this kind of diagnostic.
Stochastic beam cooling, a combination of microwave based beam diagnostic and correction, has made important contributions to physics. This technique corrects the movements of individual particles. On average each simply charged particle (e.g. proton) passing through a stochastic cooling pick-up just gives off a single microwave photon per passage and can be extracted from the noise by signal observation over many turns
Microwave diagnostic can see a single charged particle circulating in a storage ring and also a single particle (e.g. antiproton) oscillating in a trap.
Microwave diagnostics is also an important tool for different kinds of experiments (e.g. antimatter related) in the vicinity of accelerators.
And last not least: RF and microwave power systems are the indispensible working horse for virtually ALL particle accelerators used these days.