Exercise for tracking detectors

1. A cylindrical proportional tube has an anode wire radius of 0.003 cm and a cathode radius of 2cm. It is operated with an applied voltage of 2kV. If a minimum electric field of 1 MV/m is required to initiate gas multiplication, what fraction of the internal volume of the tube corresponds to the multiplication region?

2. How much charge is deposited by a minimum ionising particle in  fully depleted 300 m Silicon, Germanium and GaAs sensors. (the density for GaAs is 5.31 g/cm3)

3. Calculate the dark current (generation current) for fully depleted 300 m thick Silicon, Germanium and GaAs sensors at room temperature.

4. Calculate the depletion voltage for both n-type and p-type (bulk) 300 m thick Silicon sensors when the substrate resistivity,  r,  is 6 kcm. The doping concentration of the substrate is given by:

,where e,h is the mobility for electrons or holes, q the charge of the electron.

5. A parallel plate ion chamber with 150pF capacitance is operated in electron-sensitive more. Calculate the pulse amplitude expected from 1000 ion pairs formed 2cm from the anode, if the total spacing between the plates is 5cm.

6. Estimate the charge collection time for a photon converted in the middle of a fully depleted n-type (bulk)  sensor, thickness d=300 m,  with p-implanted electrode when the drift velocity is given by

,where e,h is the mobility for electrons or holes, E is the electric field.

Hint: Use the boundary condition for the equation x(t=0) = x0. In order to numerically solve the equation use x=0 for the p-electrode and x=0.9d for the backplane.