## Slide 1: Toward Quantum-Limited Axion Detection: A Mitigation Strategy Yannis K. Semertzidis, KAIST Axions in Stockholm, Nordita, Stockholm, Sweden June 23 to Jully 11, 2025
“Cosmic Axions Revealed via Amplified Modulation of Ellipticity of Laser (CARAMEL),”
Based on EO detection of the axion induced electric field in microwave cavity plus probing
A new approach to reading out axion haloscopes could increase the axion frequency scanning rate by more than an order of magnitude, enabling its detection or exclusion in less than five years (axions after inflation).
July 1, 2025

## Slide 2: Major recent breakthroughs in axion dark matter research
Josephson parametric amplifiers with noise near quantum limit
High field, large volume magnets
Large volume cavities cooled to <30mK
New resonating geometries/concepts: high frequency resonances made available for large volume microwave cavities
High quality factors at high magnetic fields using HTS tapes
CAPP contributed to all of the above successes (yes, the field is ready for large scale effort).
Nonetheless, we still need a few decades to completely cover all interesting frequencies at DFSZ sensitivities.
With CARAMEL, we aim to help reach better than DFSZ sensitivity with less than 3s integration time per step. Covering interesting range in <5 years.

## Slide 3: Rochester Brookhaven Fermilab axion dark matter search
The RBF-dark matter axion group, circa 1990
Under the leadership of Adrian C. Melissinos (Rochester), 1929-2022, a daring pioneer, full of energy, a great teacher.

## Slide 4
First haloscope limits: Rochester, Brookhaven, Fermilab.
Then
University of
Florida

## Slide 5: Axion Dark Matter eXperiment
Cryogenics (0.1K)
Superconducting magnet (>7.5 T)
Large volume cavity (140l)
Low noise amplifiers
  From 12K to 1K
  Currently SQUID and JPA (<1K)

## Slide 6: Axion dark matter reviews

## Slide 7: Axion dark matter review articles, theory and experiments
Axion dark matter: What is it and why now?
By Francesca Chadha-Day, John Ellis,
David J.E. Marsh, Sci. Adv. 8, eabj3618 (2022)
Axion dark matter: How to see it?
By YkS and SungWoo Youn, Sci. Adv. 8, eabm9928 (2022)
What can solve the Strong CP problem?
By David E. Kaplan, Tom Melia, Surjeet Rajendran, arXiv: 2505.08358

## Slide 8: Axion mass predictions C. O’Hare, cajohare/axionlimits: https://cajohare.github.io/AxionLimits/
Lattice QCD recently became more
powerful, see, e.g., muon g-2 hadronic
correction (still needs to be confirmed).

## Slide 9: Haloscope method method suggested by Pierre Sikivie (1983)

## Slide 10: State of the art axion haloscopes
The ability to scan fast depends on B-field, Volume, Temperature, and Q0
Most sensitive method
Running Haloscope
Experiments:
CAPPDMAG
ADMX
HAYSTAC

## Slide 11: Limits in medium axion frequencies (up to 2024)
Slide by Jiwon Lee,
KAIST, PhD work (ongoing)

## Slide 12: Major activities
ADMX (UW, microwave cavity)
HAYSTAC (Yale, microwave cavity)
IBS/CAPPDMAG (CULTASK, multiple microwave cavities, 1-10GHz)
ORGAN (UWA, high frequency)
QUAX (INFN, microwave cavity)
KLASH (Large volume magnet in Frascati, microwave cavity)
MADMAX (DESY, dielectric interfaces)
ALPHA (Sweden, plasmonic resonance)
BabyIAXO (DESY, axion helioscope)
ALPs (DESY, coupled FP resonators)
CAST-CAPP (CERN, rectangular cavities-TE modes)
GrAHol-CAPP/DMAG (large volume magnet)
Dark Matter RADIO and many more, new exciting experiments…!

## Slide 13: World map of current experiments on wavy dark matter

## Slide 14: There are two major issues with axion research and possibly one solution
Breakthrough advances are not being openly shared within the community.
Achieving quantum level sensitivity continues to elude every experiment.
In order to cover from fmin=0.5 GHz to fmax=50 GHz and assuming a frequency step of half the axion width (Qa=106) we would need to cover separate steps! (Looking for a radio station in 10million channels.)
Most current experiments spend/need more than 100s integration time per step for DFSZ sensitivity. That’s 30 years at 100% running time efficiency.
With CARAMEL, we aim to reach better than DFSZ sensitivity with less than 3s integration time per step. A parallel effort could achieve 0.5 – 50 GHz in <5y.

## Slide 15: Axion dark matter search
The axion mass is unknown, like any number in a phone book in New York. The way we look for it:
Once it’s discovered, anyone will be able to dial in… and listen to it.

## Slide 16: Axion dark matter search
Once it’s discovered, anyone will be able to dial in… and listen to it.

## Slide 17: Axion dark matter search
We need to speed up the dial by developing new, simpler technologies/know-how.

## Slide 18: The currently best readout system: Josephson parametric amplifiers (JPA)

## Slide 19: JPA Principle (Caglar Kutlu’s slide, Sergey Uchaikin et al.)
(no resistors)
Caglar is now
with a quantum
computing startup
in Switzerland

## Slide 20
Caglar Kutlu’s slide
JPA packaging design: Sergey Uchaikin

## Slide 21
CAPP-MAX, JPA-bundle development testing
Added system noise (JPA+ HEMT noise).
Chips by Tokyo (Nakamura et al.)
Development at CAPP:
Sergey Uchaikin et al.
Combining JPAs to achieve high sensitivity in 1.2 - 1.5 GHz, running at low temperature <30mK

## Slide 22: IBS-CAPP at DFSZ sensitivity, scanning 1-4 GHz
S. Ahn et al., PRX (2024) from CAPP.
A 32 page reference paper on how to achieve DFSZ sensitivity.
Axions->photons: ~102 RF-photons/s
Noise: ~4×103 RF-photons/s, at best

## Slide 23: The best JPAs today
Their average noise is between 3-5 times the quantum noise level
Their frequency BW is limited, and they are labor intensive
Require < 50mK cooling for best performance (at CAPP we had a best physical temp. ~22mK, with more common 25-40mK). The total system noise was ~220mK, requiring >100 s of integration time over the axion BW.

## Slide 24: Cavities made of High Temperature Superconducting (HTS) tapes

## Slide 25
Danho Ahn’s slide

## Slide 26
HTS superconducting cavity in large B-field!
First and best in the world!
Phys. Rev. Applied 17, L061005 – Published 28 June 2022

## Slide 27
CAPP summer 2024, unique achievement, 34 liter cavity!
Jiwon Lee’s slide

## Slide 28: Institute for Basic Science, 2011: Major Investment to Basic Sciences in South Korea.
IBS-CAPP (est. 2013) scanned at DFSZ sensitivity for axions over 1 GHz in 2022, first time in the world.
Since summer 2024, a 34liter HTS cavity in 12T, with better than DFSZ sensitivity and able for >3MHz/day scanning rate.
IBS-CAPP is now operating under another name: IBS-DMAG (Dark Matter Axion Group), under the leadership of SungWoo Youn
Photo: KAIST Munji Campus, January 2023

## Slide 29: ADMX plan

## Slide 30: ADMX plan

## Slide 31: ADMX: Rybka, August 2022
Large-volume MRI magnet
moved to Fermilab

## Slide 32: Grenoble Axion Haloscope and CAPP (~500 l cavity)
First target 300-600 MHz axion frequency.

## Slide 33
Equivalent noise temperature
The uncertainty principle limits the lowest equivalent electronic noise of the system (quantum noise limited amplifiers). Single photon detectors (in blue) would be perfect, but they are still …far away from competing (however, see next).
Slide by SungWoo Youn

## Slide 34: Single RF-photon detector!
A dream come true:
  Lescanne et al., PRX (2020)
  Albertinale et al., Nature (2021)
  Wang et al., Nature (2023)
Qubits or bolometers combined with HTS cavities pave the path to the high frequency. It’s getting very close to a major running system. See also yesterday’s talk by Klaara Viisanen
Nature 586, 47 (2020)

## Slide 35: QUAX experiment in Italy
Significant progress in single photon detection
Cresini et al., PRL 124, 171801 (2020)
Braggio et al., PRX 15, 021031 (2025)

## Slide 36: Prospects of scanning the whole axion frequency range
With current methods we are still looking at a few decades before scanning the whole viable axion frequency.
With CARAMEL we aim to achieve DFSZ sensitivity in the 40-180 µeV (10-45 GHz) range with a (nominal) year’s running time.
From Lattice QCD and requiring axions as dark matter the preferred mass range is: 40-180 µeV
M. Buschmann et al., Dark matter from axion strings with adaptive mesh refinement, Nature Commun. 13, 1049 (2022), arXiv:2108.05368 [hep-ph].

## Slide 37: Electro optic detection of axion induced electric fields in microwave cavities

## Slide 38: Electro optic detection of axion induced electric fields in microwave cavities
P
A

## Slide 39: Electro optic detection of axion induced electric fields in microwave cavities
For LiNbO3 crystal:
n=2.2, r33 = 3.1 × 10-11 m/V

## Slide 40
Figure 2
Electro optic (EO) readout using a Fabry Perot resonator plus heterodyning (probing, PRD 107, 103005 (2023)).
EO crystal

## Slide 41: EO measurement using a Fabry-Perot resonator alone
Axion induced electric field oscillation amplitude (for Qc=104): Ea=7nV/m.
Ellipticity induced for a single pass 𝜓 ~ 2×10-14 rad
With a Fabry-Perot and 104 finesse 𝜓FP ~ 1.3×10-10 rad. Laser shot noise: 𝜓LSN ~ 3.5×10-9 rad (3s integration time)
Not quite enough. We need to do better…

## Slide 42: EO measurement using a Fabry-Perot plus heterodyning (probing)
Axion field at 10 GHz is coherent for ~0.1ms, the laser noise is incoherent.

## Slide 43
Heterodyne-variance method, Omarov, Jeong, YkS: PRD107, 103005 (2023)
Injecting photons into the microwave cavity can enhance the axion detection rate
Adapted from Junu Jeong’s slides
Instead of the power detector, we propose to use
the EO effect and a Fabry-Perot resonator

## Slide 44
Heterodyne-variance method: PRD107, 103005 (2023)
Can always reach QNL performance even when the power detectors (bolometers) are noisy
Junu Jeong’s slide

## Slide 45: EO measurement using a Fabry-Perot plus heterodyning (probing)
Heterodyning (probing) enhances the axion signal by sqrt(Eprobe/Ea)~3×103
The axion induced ellipticity is now ~ 5×10-7 rad at 10 GHz with 10kHz modulation.
We can see this in less than 3s.

## Slide 46: The dominant noise
Thermal and vacuum (quantum) induced noise.
(In the current experiments the dominant noise comes from the readout electronics)

## Slide 47: Frequency dependence
We can achieve DFSZ sensitivity even for 50 GHz for just 3s integration time per bin.
The frequency range shown includes the favorite range for after inflation PQ scale (10-45 GHz), Buschmann (2022).

## Slide 48: Higher frequency than the “natural” one: CAPP/DMAG and ALPHA

## Slide 49: Doing high frequency efficiently
Slide by Junu Jeong,
SungWoo Youn et al.

## Slide 50: Kirigami tessellations
c
Nature communication 9, 4594
Nature material 18, 999
Kirigami

## Slide 51: Performance comparison
Chart: F.O.M. Comparison
| 17759149000 | 17824813000 | 18023882000 | 18358679000 | 18831213000 | 19439645000 | 20171906000
Dielectric_hexagonal | 0.018908 | 0.018636 | 0.017772 | 0.016238 | 0.013953 | 0.010933 | 0.0074517
Dielectric_square | 0.00088636 | 0.0021088 | 0.0036879 | 0.0055516 | 0.007261 | 0.0085938 | 0.0093626 | 0.00958 | 0.0094474 | 0.0092495
Plasma_hexagonal | 0.0051447 | 0.0050231 | 0.0046666 | 0.0041038 | 0.0033918 | 0.0026149 | 0.0018498
28Cell | 0.0038269 | 0.0026436 | 0.0019717 | 0.0016548 | 0.0015131 | 0.0014544 | 0.0014354 | 0.0014345 | 0.0014401 | 0.0014457 | 0.001448
F.O.M. = C2V2Q
Physical Review D Vol. 107, No. 1, 015012-1-015012-8(2023)

## Slide 52: Alpha collaboration

## Slide 53: Alpha collaboration

## Slide 54: Can we do better than quantum noise?

## Slide 55: Axion Dark Matter: a Cosmic MASER
De Broglie wavelength of axions

## Slide 56: EO-heterodyne readout
Having (N) multiple cavities, located within the axion coherence length. The gain in SNR is proportional to √N, and in scanning time N.
The challenge: Design the experiments so that the total axion induced signal is higher than quantum noise (QN).
EO-heterodyning readout noise will be less than QN with 3s integration time.
The opportunity is indeed great. Using existing technology that can scale up easily.

## Slide 57: Summary
ALPHA, ADMX, CAPPDMAG, GrAHal, HAYSTAC, QUAX,… are mature experiments, scheduled to complete the full frequency range in a few decades.
HTS cavities can help, but the readout electronics is still the bottleneck.
Electro-optic heterodyning (probing) readout method with Fabry-Perot resonators can enhance the scanning speed by more than an order of magnitude:
  Great SNR, quantum noise limitations are mitigated with multiple cavities
  Use a uniform readout system for the favorite frequency range 10 GHz < f < 45 GHz.
The new approach can be applied in the 0.5 to 50 GHz, achieving DFSZ sensitivity faster than present readouts. We can work together (in parallel) to help cover the whole range in less than 5-10 years.

## Slide 58: Extra slides

## Slide 59: Superconducting cavities in strong B-fields

## Slide 60: The CAPP-MAX, our flagship experiment based on the LTS-12T/320mm magnet
Axion to photon conversion power at 1.15 GHz
  KSVZ: 6.2×10-22 W or ~103 photons/s generated
  DFSZ: 0.9×10-22 W or ~102 photons/s generated
With total system noise of 300mK, Q0=105, eff. = 0.80
  KSVZ: 25 GHz/year
  DFSZ: 0.5 GHz/year
With total system noise of 200mK (250mK), Q0=105
  KSVZ: 50 GHz/year (35 GHz/year)
  DFSZ: 1 GHz/year (0.64 GHz/year)
With total system noise of 125mK, Q0=1×106
  DFSZ: 1-2 GHz/year for 20% of dark matter as axions
  DFSZ: 2-4 GHz/year, 4-8 GHz/year, 20% ADM

## Slide 61: QUAX, INFN

## Slide 62: QUAX experiment in Italy
Using innovation and quantum RF-readout to make progress

## Slide 63: QUAX
Projection at 8.5 -11 GHz

## Slide 64: Axion coupling vs. axion mass
Axions here solve the
Strong CP-problem
ALPs:
Axion
Like
Particles
A unique feature: There’s a bottom line

## Slide 65: QUAX
Current status at 8.5 -11 GHz

## Slide 66: The low-frequency domain

## Slide 67: Dark-Matter Radio, probing the low frequency axions at SLAC/USA
Low frequencies (long Compton wavelength)
favor induction coil detection

## Slide 68
Dark Matter Radio, 2203.11246

## Slide 69: A new haloscope at Grenoble: GrAHal B2V wins (GrAHal-CAPP plans to scan 0.2-0.6 GHz at better than DFSZ)
9 T in 810 mm warm bore
New experimental effort!

## Slide 70
Heterodyne-variance method, 2209.07022
Intermediate method before low-noise single photon detection
Junu Jeong’s slide

## Slide 71: David Tanner

## Slide 72: Axion Couplings
Gauge fields:
  Electromagnetic fields (microwave cavities: CAPP, ADMX,…)
  Gluon Fields (Oscillating EDM: CASPEr, storage ring EDM)
Fermions (coupling with axion field gradient, pseudomagnetic field, CASPEr-Electric, ARIADNE; GNOME)